## Slide 1: Jesse Bordeau Final Thesis Presentation
Advisors:
AC Hotel
Philadelphia
By Marriott
230 North 13th Street, Philadelphia Pa
Department of Architectural Engineering
Structural Option
Spring 2016
Spring 2016- Dr. Linda Hanagan, PhD, P.E.
Fall 2015- Prof. Heather Sustersic, P.E.
1

## Slide 2: Presentation Overview
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Courtesy of digital-topo-maps.com
2

## Slide 3
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
N
Building Location
Clarion St.
13th St.
Florist St.
Courtesy of digital-topo-maps.com
Courtesy of google maps
3

## Slide 4
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Courtesy of Google Earth & HAA for Rendering
Building Location
Clarion St.
13th St.
Florist St.
N
4

## Slide 5: past
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Prior uses (Built in 1946)
  NFL Film Studio
  Warner Bros. Distribution Center
  Big Brothers Big Sisters’ Nat’l Headquarters (1984-2014)
Courtesy of philly.curbed.com
Courtesy of HAA
Residential Transient Hotel (R-1)
  Type 1-B
    Exterior Walls
    Ceiling/Floor Separation 2 HR.
    Structural Frame
    Ceiling/Roof Assembly 1 HR.
192’ Above sidewalk grade
  Garage + 14 levels above grade +
  Penthouse+ Mech. Penthouse
107,680 SF
Proposed Construction:
Fall 15’- Summer 17’
Features:
  Valet parking via car lift
  150 guest room units
  Restaurant, Fitness Center & Indoor Pool
  Multiple Green Roofs (intensive & Extensive)
}
present
5

## Slide 6: Gravity System
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Floor System: Girder-Slab
  D-Beam
  8” Hollow-Core Plank (4’0” typ)
Columns: Wide Flange Members (W14 typ.)
Typical Bay: 17.5’ x 24’
Typ. Floor Plan
91’
60’
Courtesy of girder-slab.com & Google Images
6

## Slide 7: Lateral System
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Braced Frames (BF)
  Eight frames, four each direction
  (7) concentric, (1) eccentric
    Floor 8-Roof: HSS6x6x3/8
    Floor 3-7: HSS6x6x1/2
    Floor 1&2: HSS8x8x1/2
BF-1
BF-2
BF-6
BF-5
BF-3
BF-4
BF-8
BF-7
7

## Slide 8: The Modified Structure
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Systems
Steel Concrete
Girder-Slab One-way slab w/ beams
Concentric braced frames Concrete Shear Walls & Moment Frames
Courtesy of studyblue.com
8

## Slide 9: Redesign
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Simplify column layout
Maintain floor-to-ceiling height (AC Marriott standard 9’0”)
Provide cost-efficient system
Goals
9

## Slide 10
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Gravity System – One-way slab w/ beams
Slab Design
  Minimum Slab Thickness – ACI 318-11 Table 9.5(a)
    11” min due to 24’ span
    #4 @ 12” O.C.
Interior Beams (4.5’ to 5.66’ O.C.)
  Reduces thickness to 2.4”
    Typ. Floor – 5”
    Lower Floors – 6”
91’
60’
Courtesy of ACI 318-11
}
Allows for adequate reinforcement space & placement
17’
24’
59’
92’
10

## Slide 11
1
4
8
11
13
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Gravity System – One-way slab w/ beams
Beam Design
  Minimum Thickness – ACI 318-11 Table 9.5(a)
  Moment Approximations – ACI 318-11 Section 8.3.3
Courtesy of ACI 318-11
1
2
3
4
5
5
1
3
4
4
2
4
4
2
5
1
3
12

## Slide 12
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Gravity System – One-way slab w/ beams
59’
92’
Beam Design cont.
  Beam dimensions
    Beam
    girder
<1.5b
d<2b
13

## Slide 13
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Gravity System – Columns
Column Design
  CRSI Manual (Table 3-12)
  Checked for slenderness not slender
Capacity
Load Being Seen
14

## Slide 14
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Gravity System – Columns
Column Design
  CRSI Manual (Table 3-12)
  Checked for slenderness not slender
15

## Slide 15
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Lateral System
Wind controlled
Lateral Force Resisting Elements (LFRE) – Full Building Height
  14” Shear Walls (N-S)
    (2) 17’ long
    (2) 10’ long
  Concrete Moment Frames (E-W)
    (4) 59’ Long
16

## Slide 16
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Lateral System
17
Wind controlled
Lateral Force Resisting Elements (LFRE) – Full Building Height
  14” Shear Walls (N-S)
    (2) 17’ long
    (2) 10’ long
  Concrete Moment Frames (E-W)
    (4) 59’ Long

## Slide 17
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
  LED Fluorescent & Compact Fluorescent (CFL)
  Feasibility 20 - year cost comparison
Courtesy of www.groupemagma.ca
Courtesy of www.girder-slab.com
  Detailed cost estimate/comparison
  General schedule impacts
VS
Construction Management
Lighting Redesign
18

## Slide 18
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Detailed Cost Estimate
Structure only
By category
RS Means (Facilities Construction Cost Data - 2014 Edition)
19

## Slide 19
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Estimates
20

## Slide 20
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Estimates
21

## Slide 21
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Estimates
22

## Slide 22
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Estimates
23

## Slide 23
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Estimates
Steel Concrete
Stimulants
  Girder-Slab
  More Slim
  Material Consistency
Setbacks
  Erecting steel pieces
  Welding
Stimulants
  Simplified Load Path
  Fire-proofing
  Thermal Properties
Setbacks
  Locating a Contractor
  Formwork/Curing time
Schedule Impacts
24

## Slide 24
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Simplify column layout
Maintain floor-to-ceiling height (AC Marriott standard 9’0”)
Provide cost-efficient system
Goal Review
25

## Slide 25
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Simplify column layout
Maintain floor-to-ceiling height (AC Marriott standard 9’0”)
Provide cost-efficient system
Goal Review
26

## Slide 26
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Simplify column layout
Maintain floor-to-ceiling height (AC Marriott standard 9’0”)
Provide cost-efficient system
Goal Review
27

## Slide 27
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Simplify column layout
Maintain floor-to-ceiling height (AC Marriott standard 9’0”)
Provide cost-efficient system
Goal Review
28

## Slide 28
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Acknowledgements
Holbert Apple Associates
  David Smith
  Scott Molongoski
AE Faculty
  Dr. Hanagan, PhD, P.E.
  Prof. Sustersic, P.E.
Friends, Classmates & Colleagues
Parents
29

## Slide 29
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Questions/Comments?
30

## Slide 30
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
APPENDIX

## Slide 31
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Lighting Redesign

## Slide 32
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Lighting Redesign
B.E.P.

## Slide 33
Existing Conditions
  Site Location
  Building Information
  Existing Structure
Proposal
Structural Redesign
  Gravity
  Lateral
Breadth Topics
  Construction Management
Conclusion
  Appendix
Presentation Overview